## POPIS UREĐAJA
POPIS UPS UREĐAJA PROIZVOĐAČA SOCOMEC
R. br. | TJO | Lokacija | Model | Snaga (kVA) | Serijski broj | Zamjena baterija | Zamjena kondenzatora
1 | Benkovac | NP Pirovac | Masterys EB | 2 x 15 | P137862001
2 | Benkovac | NP Benkovac | Masterys BC | 15 | PM00748003
3 | Benkovac | NP Skradin | Masterys BC | 15 | PM00750003
4 | Bosiljevo | NP Novigrad | Masterys BC | 30 | P143947001
5 | Brinje | NP Brinje | Masterys EB | 2 x 15 | P137761001 | 72 kom 8/2018
6 | Brinje | NP Žuta Lokva | Masterys EB | 2 x 15 | P137723001 | 4/2016
7 | Brinje | NP Otočac | Masterys EB | 2 x 15 | P137868001
8 | Čavle | VP Tuhobić | ITY2-TW060B | 6 | 408700534
9 | Čavle | NP Grobnik -Rijeka | Maserys GP | 30
10 | Čepin | NP Osijek | Masterys MC | 30 | P500547001
11 | Čepin | NP Čepin | Masterys MC | 15 | P500546001
12 | Delnice | NP Delnice | Sicon Digys | 10 | P195515001
13 | Đakovo | NP Đakovo | Masterys BC | 15 | PM00750002
14 | Ivanja Reka | NP Komin | Masterys BC | 15 | PM00752005
15 | Ivanja Reka | NP Breznički Hum | Masterys BC | 15 | PM00752004
16 | Ivanja Reka | NP Sveta Helena | Masterys EB | 2 x 15 | P137857001
17 | Ivanja Reka | NP Zagreb Istok | Masterys MC | 40 | P195515001
18 | Ivanja Reka | NP Zagreb Istok | Masterys MC | 40 | P195515002
19 | Ivanja Reka | NP Ivanić Grad | Masterys BC | 15 | PM00753002
20 | Ivanja Reka | NP Rugvica | Masterys BC | 15 | PM00748005
21 | Kutina | NP Novska | Masterys BC | 15 | PM00751002
22 | Kutina | NP Popovača | Sicon Digys | 8 | P906627001
23 | Kutina | NP Popovača | Masterys BC | 10 | P138363001
24 | Kutina | NP Kutina | Masterys BC | 20 | P489074001
25 | Lučko Sjever | NP Bregana | Masterys EB | 2 x 30 | P128413001
26 | Lučko Zapad | NP Jastrebarsko | Masterys GP | 30 | P207517002
27 | Maslenica | NP Maslenica | Masterys BC | 15 | PM00749003
28 | Maslenica | NP Zadar 2 | Masterys EB | 2 x 15 | P137871001
29 | Maslenica | NP Zadar 1 | Masterys EB | 2 x 15 | P137867001
30 | Maslenica | NP Posedarje | Masterys BC | 15 | PM00748002
31 | Ogulin | NP Ogulin | Masterys BC | 15 | PM00751005
32 | Ogulin | COKP Ogulin | Sicon Plurys | 10 | P743712004
33 | Okučani | NP Nova Gradiška | Masterys BC | 15 | PM00752001
34 | Okučani | NP Okučani | Masterys EB | 2 x 15 | P137855001
35 | Perušić | NP Perušić | Masterys BC | 15 | PM00730001
36 | Perušić | NP Gospić | Masterys BC | 15 | PM00752003
37 | Perušić | COKP Perušić | Sicon Plurys | 10 | P748655008
38 | Rupa | COKP Rupa | Sicon Plurys | 15 | P175209005
39 | Rupa | NP Rupa | Masterys BC | 30 | P211415001
40 | Sisak | NP Buševec | Masterys GP | 15 | P917283002
41 | Sisak | NP Buševec | Masterys BC | 10 | P488752001
42 | Sisak | NP Mraclin | Masterys BC | 10 | P101647001
43 | Sisak | NP Mraclin | Masterys GP | 30 | P121889001
44 | Sisak | NP Lekenik | Masterys GP | 15 | PM06097002
45 | Sl. Brod | NP Lužani | Masterys BC | 15 | PM00749002
46 | Sl. Brod | NP Slavonski Brod zapad | Masterys BC | 15 | PM00749004
47 | Sl. Brod | NP Slavonski Brod istok | Masterys BC | 15 | PM00751004
48 | Sl. Brod | NP Velika Kopanica | Masterys BC | 15 | PM00752002
49 | Split | NP Dugopolje | Masterys EB | 2 x 15 | P137872001
50 | Split | NP Bisko | Masterys EB | 2 x 15 | P137866001
51 | Split | NP Blato na Cetini | Masterys BC | 15 | PM00751001
52 | Split | NP Vučevica | Masterys BC | 15 | PM00751003
53 | Sveti Rok | COKP Sveti Rok | Sicon Plurys | 10 | P743712002
54 | Sveti Rok | NP Sveti Rok | Masterys EB | 2 x 15 | P137870001
55 | Sveti Rok | NP Gornja Ploča | Masterys EB | 2 x 15 | P137869001
56 | Šibenik | NP Vrpolje | Masterys EB | 2 x 15 | P137863001
57 | Šibenik | NP Šibenik | Masterys EB | 2 x 15 | P137865001
58 | Šibenik | NP Prgomet | Masterys EB | 2 x 15 | P137873001
59 | Varaždin | NP Goričan | Masterys EB | 2 x 15 | P137858001
60 | Varaždin | NP Čakovec | Masterys BC | 15 | PM00748001
61 | Varaždin | NP Ludbreg | Masterys BC | 15 | PM00748004
62 | Varaždin | NP Varaždin | Masterys EB | 2 x 15 | P137856001
63 | Varaždin | NP Varaždinske Toplice | Masterys BC | 15 | PM00753001
64 | Varaždin | NP Novi Marof | Masterys BC | 15 | PM00753003
65 | Zagvozd | NP Šestanovac | Masterys MC | 15 | P104242002
66 | Zagvozd | NP Zagvozd | Masterys MC | 15 | P104242001
67 | Zagvozd | NP Ravča | Masterys MC | 15 | P104236001
68 | Zagvozd | NP Vrgorac | Masterys BC | 15 | P132058001
69 | Zagvozd | Vatrogasci Sveti Ilija | ITY2-TW060B | 6 | 4I17450046
70 | Županja | NP Babina Greda | Masterys BC | 15 | PM00749001
71 | Županja | NP Županja | Masterys EB | 2 x 15 | P137861001
72 | Županja | NP Spačva | Masterys BC | 15 | PM00750004
73 | Županja | CP Lipovac | Masterys EB | 2 x 30 | P137725001
74 | Rupa | NP Rupa | Masterys BC | 15 | -
75 | Vrgorac | COKP Vrgorac | Masterys BC | 20 | PM3655001
76 | Vrgorac | CP Čarapine | Masterys GP | 2 x 30 | P211449001&2